## Sheet1
Sample Name | Vial | Action | Notes | Sample wt | Total vol:
CondBlank1 | 0 |  | GENERAL NOTE: ran on Shimadzu TOC-L at MCRL Rm 130
CondBlank2 | 0
CondBlank3 | 0
CondBlank4 | 0
CondBlank5 | 0
CondBlank6 | 0
0-50PPMC | 1, 2, 3, 4, 5, 6, 7, 8, 9 |  | Slope: 4.616, Int: 0.2526, r^2: 1.0000
0-3PPMN | 10, 11, 12, 13, 14, 15, 16 |  | Slope: 6.259, Int: -0.02583, r^2: 0.9993
Blank1 | 0 |  | NPOC: 0.08576, TN: 0.01556
CKSTD1_1PPM_CN | 17 |  | NPOC: 1.023, TN: 1.049
TMP_FW_PW_DOC_I5_15cm_20220613 | 18
TMP_SW_PW_DOC_E3_15cm_20220613 | 19
TMP_FW_PW_DOC_F4_15cm_20220613 | 20
TMP_C_PW_DOC_B4_15cm_20220613 | 21
TMP_SW_PW_DOC_I5_15cm_20220613 | 22
TMP_SW_PW_DOC_B4_15cm_20220613 | 23
TMP_C_PW_DOC_C6_15cm_20220613 | 24
TMP_SW_PW_DOC_C3_15cm_20220613 | 25
TMP_FW_PW_DOC_C3_15cm_20220613 | 26
Blank2 | 0 |  | NPOC: 0.1450, TN: 0.02779
CKSTD2_1PPM_CN | 27 |  | NPOC: 1.023, N: 1.015
TMP_C_PW_DOC_I5_15cm_20220613 | 28
TMP_SW_PW_DOC_D5_15cm_20220613 | 29
TMP_FW_PW_DOC_H6_15cm_20220613 | 30
TMP_FW_PW_DOC_D5_15cm_20220613 | 31
TMP_SW_PW_DOC_F6_15cm_20220615_DILUTED4mLsmpl3mLwater | 32 | Dilution correction needed | 4mLs sample, 3mLs MQ | 4 | 7
TMP_FW_PW_DOC_C6_15cm_20220615 | 33
TMP_C_PW_DOC_E3_15cm_20220615 | 34
TMP_SW_PW_DOC_H3_15cm_20220615 | 35
Blank3 | 0 |  | NPOC: 0.1147, TN: 0.9744
CKSTD3_1PPM_CN | 36 |  | Checking method
CKSTD1_1ppm_C | 80 |  | Checking method
CKSTD2_1ppm_C | 81 |  | Checking method
CKSTD3_1ppm_C | 82 |  | Checking method
CKSTD4_1ppm_C | 83 |  | Checking method
CKSTD5_1ppm_C | 84 |  | Checking method
CKSTD6_1ppm_C | 85 |  | Checking method
CKSTD7_10ppm_C | 86 |  | Checking method

## Dilution sheet
Sample | Vial wt (g) | Vial wt+Sample (g) | Sample Wt (g) | DI added (mL) | Total vol (mL) | Vial wt after addition (g) | *two different glass thickness-> explains differing vial wts