## Sheet1
Sample Name | Vial | Action | Notes | Sample wt | Total vol:
CondBlank1 | 0 |  | General Notes: This run went bad and was stopped half-way though. Many samples only using 1 peak.
CondBlank2 | 0
CondBlank3 | 0
STD_0-50ppmNPOC | 1, 2, 3, 4, 5, 6, 7, 8, 9
STD_0-3ppmTN | 10, 11, 12, 13, 14, 15, 16
Blank1 | 0
CKSTD1_1ppmCN | 17
TMP_C_PW_DOC_H6_15cm_20220615 | 18
TMP_C_SW_DOC_F6_15cm_20220615 | 19
TMP_FW_PW_DOC_H3_15cm_20220615_Diluted | 20
TMP_C_PW_DOC_H3_15cm_20220615 | 21
TMP_SW_PW_DOC_C6_15cm_20220615 | 22
TMP_FW_H6_T0_DOC | 23
TMP_FW_C6_T0_DOC | 24
TMP_FW_I5_T0_DOC | 25
TMP_C_POOLED_PreW_DOC | 26
TMP_FW_SOURCE_HR0_DOC | 27
Blank2 | 0
CKSTD2_1ppmCN | 28
TMP_FW_SOURCE_HR5_DOC | 29
TMP_SW_SOURCE_HR6_DOC | 30
TMP_SW_SOURCE_HR5_DOC | 31
TMP_FW_SOURCE_HR4_DOC | 32
TMP_ESTUARY_BARGE_HR8_DOC | 33
TMP_FW_SOURCE_HR6_DOC | 34
TMP_SW_C3_T1_DOC | 35
TMP_SW_WELL_T1_DOC | 36
TMP_SW_H6_T1_DOC | 37
TMP_SW_B4_T1_DOC | 38
Blank3 | 0
CKSTD3_1ppmCN | 39
TMP_FW_F4_T1_DOC | 40 | Omit | NOT RUN
TMP_FW_H6_T1_DOC | 41 | Omit | NOT RUN
TMP_SW_F6_T1_DOC | 42 | Omit | NOT RUN
TMP_SW_E3_T1_DOC | 43 | Omit | NOT RUN
TMP_FW_I5_T1_DOC | 44 | Omit | NOT RUN
TMP_FW_B4_T1_DOC | 45 | Omit | NOT RUN
TMP_FW_E3_T1_DOC | 46 | Omit | NOT RUN
TMP_FW_C6_T1_DOC | 47 | Omit | NOT RUN
TMP_FW_C3_T1_DOC | 48 | Omit | NOT RUN
TMP_FW_WELL_T1_DOC | 49 | Omit | NOT RUN
Blank4 | 0 | Omit | NOT RUN
CKSTD4_1ppmCN | 50 | Omit | NOT RUN
TMP_FW_H3_T1_DOC | 51 | Omit | NOT RUN
TMP_FW_D5_T1_DOC | 52 | Omit | NOT RUN
TMP_FW_F6_T1_DOC | 53 | Omit | NOT RUN
TMP_SW_WELL_T2_DOC | 54 | Omit | NOT RUN
TMP_FW_H3_T2_DOC | 55 | Omit | NOT RUN
TMP_FW_F6_T2_DOC_Diluted | 56 | Omit | NOT RUN
TMP_FW_C6_T2_DOC | 57 | Omit | NOT RUN
TMP_C_POOLED_T2_DOC | 58 | Omit | NOT RUN
TMP_FW_F4_T2_DOC | 59 | Omit | NOT RUN
TMP_FW_E3_T2_DOC | 60 | Omit | NOT RUN
Blank5 | 0 | Omit | NOT RUN
CKSTD5_1ppmCN | 61 | Omit | NOT RUN
TMP_FW_H6_T2_DOC_Diluted | 62 | Omit | NOT RUN
TMP_SW_POOLED_T2_DOC | 63 | Omit | NOT RUN
TMP_FW_C3_T2_DOC | 64 | Omit | NOT RUN
TMP_FW_I5_T2_DOC | 65 | Omit | NOT RUN
TMP_FW_POOLED_T2_DOC | 66 | Omit | NOT RUN
TMP_SW_B4_T2_DOC | 67 | Omit | NOT RUN
TMP_SW_I5_T2_DOC | 68 | Omit | NOT RUN
TMP_SW_D5_T2_DOC | 69 | Omit | NOT RUN
TMP_SW_F6_T2_DOC | 70 | Omit | NOT RUN
TMP_FW_D5_T2_DOC | 71 | Omit | NOT RUN
Blank6 | 0 | Omit | NOT RUN
CKSTD6_1ppmCN | 72 | Omit | NOT RUN
TMP_SW_F4_T2_DOC | 73 | Omit | NOT RUN
TMP_FW_WELL_T2_DOC | 74 | Omit | NOT RUN
TMP_SW_H3_T2_DOC | 75 | Omit | NOT RUN
TMP_SW_E3_T2_DOC | 76 | Omit | NOT RUN
TMP_FW_B4_T2_DOC | 77 | Omit | NOT RUN
TMP_SW_H6_T2_DOC | 78 | Omit | NOT RUN
TMP_SW_C3_T2_DOC | 79 | Omit | NOT RUN
MSM_UP_PW_MonMon_DOC_20220607_LysA_20cm | 80 | Omit | NOT RUN
MSM_WC_PW_MonMon_DOC_20220607_SipC_45cm | 81 | Omit | NOT RUN
MSM_UP_PW_MonMon_DOC_20220607_LysA_10cm | 82 | Omit | NOT RUN
Blank7 | 0 | Omit | NOT RUN
CKSTD7_1ppmCN | 83 | Omit | NOT RUN
MSM_UP_PW_MonMon_DOC_20220607_LysC_20cm | 84 | Omit | NOT RUN
TMP_FW_F6_T3_DOC | 85 | Omit | NOT RUN
TMP_FW_I5_T3_DOC | 86 | Omit | NOT RUN
TMP_C_C6_T3_DOC | 87 | Omit | NOT RUN
TMP_FW_D5_T3_DOC | 88 | Omit | NOT RUN
TMP_FW_POOLED_T3_DOC | 89 | Omit | NOT RUN
MSM_TR_PW_MonMon_LysB_20 | 90 | Omit | NOT RUN
MSM_TR_PW_MonMon_LysA_20 | 91 | Omit | NOT RUN
MSM_WC_PW_MonMon_SipC_20 | 92 | Omit | NOT RUN
Blank8 | 0 | Omit | NOT RUN
CKSTD8_1ppmCN | 93 | Omit | NOT RUN

## Dilution sheet
Sample | Vial wt (g) | Vial wt+Sample (g) | Sample Wt (g) | DI added (mL) | Total vol (mL) | Vial wt after addition (g) | *two different glass thickness-> explains differing vial wts
SW_Pool_T2 | 8.7934 | 9.2637 | 0.4703 | 6.53 | 7.0003 | 15.7509
FW_B4_T2 | 8.6166 | 8.9383 | 0.3217 | 6.68 | 7.0017 | 15.6003
FW_F6_T3 | 5.2081 | 5.3595 | 0.1514 | 6.85 | 7.0014 | 12.1884
FW_I5_T3 | 5.2287 | 8.693 | 3.4643 | 3.535 | 6.9993 | 12.229
FW_D5_T3 | 8.6166 | 11.522 | 2.9054 | 4.095 | 7.0004 | 15.6193
FW_SOURCE_HR2 | 5.2403 | 8.4843 | 3.2813 | 3.72 | 7.0013 | 12.1985
SW_SOURCE_HR3 | 5.1173 | 8.7608 | 3.6435 | 3.355 | 6.9985 | 12.1062
SW_H6_T2 | 8.6455 | 8.9623 | 0.3168 | 6.685 | 7.0018 | 15.6387
FW_D5_T2 | 5.1529 | 7.4783 | 2.3254 | 4.675 | 7.0004 | 12.1625
FW_POOL_T2 | 8.6674 | 11.5433 | 2.8759 | 4.125 | 7.0009 | 15.6427
FW_E3_T1 | 8.6787 | 10.9072 | 2.2285 | 4.915 | 7.1435 | 15.7935
SW_F6_T1 | 5.1362 | 7.2224 | 2.0862 | 4.915 | 7.0012 | 12.0922
SW_SOURCE_HR5 | 8.8002 | 11.7884 | 2.9882 | 4.01 | 6.9982 | 15.7695