## Sheet1
Sample Name | Vial | Action | Notes | Sample wt | Total vol:
CondBlank1 | 0
CondBlank2 | 0
CondBlank3 | 0
CondBlank4 | 0
CondBlank5 | 0
CondBlank6 | 0
0-50PPMC | 1, 2, 3, 4, 5, 6, 7, 8, 9
0-3PPMN | 10, 11, 12, 13, 14, 15, 16
Blank1 | 0
CKSTD1_1PPM_CN | 17
TMP_FW_PW_DOC_I5_15cm_20220613 | 18
TMP_SW_PW_DOC_E3_15cm_20220613 | 19
TMP_FW_PW_DOC_F4_15cm_20220613 | 20
TMP_C_PW_DOC_B4_15cm_20220613 | 21
TMP_SW_PW_DOC_I5_15cm_20220613 | 22
TMP_SW_PW_DOC_B4_15cm_20220613 | 23
TMP_C_PW_DOC_C6_15cm_20220613 | 24
TMP_SW_PW_DOC_C3_15cm_20220613 | 25
TMP_FW_PW_DOC_C3_15cm_20220613 | 26
Blank2 | 0
CKSTD2_1PPM_CN | 27
TMP_C_PW_DOC_I5_15cm_20220613 | 28
TMP_SW_PW_DOC_D5_15cm_20220613 | 29
TMP_FW_PW_DOC_H6_15cm_20220613 | 30
TMP_FW_PW_DOC_D5_15cm_20220613 | 31
TMP_SW_PW_DOC_F6_15cm_20220615_DILUTED4mLsmpl3mLwater | 32 | Dilution correction needed |  | 4 | 7
TMP_FW_PW_DOC_C6_15cm_20220615 | 33
TMP_C_PW_DOC_E3_15cm_20220615 | 34
TMP_SW_PW_DOC_H3_15cm_20220615 | 35
Blank3 | 0
CKSTD3_1PPM_CN | 36
CKSTD1_1ppm_C | 80
CKSTD2_1ppm_C | 81
CKSTD3_1ppm_C | 82
CKSTD4_1ppm_C | 83
CKSTD5_1ppm_C | 84
CKSTD6_1ppm_C | 85
CKSTD7_10ppm_C | 86

## Dilution sheet
Sample | Vial wt (g) | Vial wt+Sample (g) | Sample Wt (g) | DI added (mL) | Total vol (mL) | Vial wt after addition (g) | *two different glass thickness-> explains differing vial wts
SW_Pool_T2 | 8.7934 | 9.2637 | 0.4703 | 6.53 | 7.0003 | 15.7509
FW_B4_T2 | 8.6166 | 8.9383 | 0.3217 | 6.68 | 7.0017 | 15.6003
FW_F6_T3 | 5.2081 | 5.3595 | 0.1514 | 6.85 | 7.0014 | 12.1884
FW_I5_T3 | 5.2287 | 8.693 | 3.4643 | 3.535 | 6.9993 | 12.229
FW_D5_T3 | 8.6166 | 11.522 | 2.9054 | 4.095 | 7.0004 | 15.6193
FW_SOURCE_HR2 | 5.2403 | 8.4843 | 3.2813 | 3.72 | 7.0013 | 12.1985
SW_SOURCE_HR3 | 5.1173 | 8.7608 | 3.6435 | 3.355 | 6.9985 | 12.1062
SW_H6_T2 | 8.6455 | 8.9623 | 0.3168 | 6.685 | 7.0018 | 15.6387
FW_D5_T2 | 5.1529 | 7.4783 | 2.3254 | 4.675 | 7.0004 | 12.1625
FW_POOL_T2 | 8.6674 | 11.5433 | 2.8759 | 4.125 | 7.0009 | 15.6427
FW_E3_T1 | 8.6787 | 10.9072 | 2.2285 | 4.915 | 7.1435 | 15.7935
SW_F6_T1 | 5.1362 | 7.2224 | 2.0862 | 4.915 | 7.0012 | 12.0922
SW_SOURCE_HR5 | 8.8002 | 11.7884 | 2.9882 | 4.01 | 6.9982 | 15.7695